## VPL - MIMA
Client | VisionStream
Project | 2HMK-01
|  |  |  | Asset ID | [10 empty] | DFN | LFN | Quantity
|  |  |  | 2HMK-01-00-DJL-002 | 2HMK-01-00-DJL-003 | 2HMK-01-00-DJL-004 | 2HMK-01-01-FJL-001 | 2HMK-01-01-BJL-001 | 2HMK-01-01-BJL-002 | 2HMK-01-01-BJL-003 | 2HMK-01-01-BJL-004 | 2HMK-01-01-BJL-006 | 2HMK-01-01-BJL-007 | 2HMK-01-01-BJL-009
|  |  | ADA: | DFN | DFN | DFN | 01 | 01 | 01 | 01 | 01 | 01 | 01 | 01
|  |  | Assigned to: | Cameron Grieve | Stephen Spiteri | Craig Smith | Stephen Spiteri
| SOR Code | Description
| M06-01-01-01 | Installation of LFN fibre joint enclosure | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 7
| M06-01-01-02 | Installation of DFN fibre joint enclosure |  | 1 | 1 | 1 | 1 | [9 empty] | 4
| M06-01-04-01 | Prepare DFN fibre cable sheath to be connected to fibre joint enclosures |  | 3 | 2 | 1 | 1 | [9 empty] | 7
| M06-01-04-03 | Prepare tether fibre cable sheath to be connected to fibre joint enclosure |  | 3 | 1 | 2 | 3 | 4 | 4 | 5 | 5 | 3 | 6 | 3 |  |  | 39
| M06-02-00-03 | Installation of splitter within an BJL enclosure | [5 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 7
| M06-04-00-01 | Cable termination in FAN | [12 empty] | 1 |  | 1
| M06-04-02-01 | Install patching cable for PON patching | [12 empty] | 8 |  | 8
| M06-05-00-01 | Installation of multiport in underground pit or manhole | [13 empty] | 5 | 5
| M06-06-00-01 | Spilicing of optic fibre ribbons |  | 24 | 24 | 2 | [10 empty] | 50
| M06-06-00-02 | Splicing of single fibres |  |  |  |  | 13 | 4 | 10 | 11 | 5 | 3 | 12 | 10 |  |  | 68
| M06-07-02-01 | DFN OTDR Testing | [12 empty] | 288 |  | 288
| M06-07-02-03 | LFN OTDR Testing | [14 empty] | 0
| M09-01-01-07 | EO for Advanced Telecommunications technician fully equipped - out of hours rate |  | 12 | 15 | 17 | 12.5 | 10 | 8 | 7 | 8 | 9 | 7 | 7 | 6 | 16 | 134.5
| M07-01-04-16 | Existing copper drop sheath validation | [13 empty] | 123 | 123