## DCMA NSW FL ND SUBBY
Schedule of Rates ¦ Subby Pricing ¦ DCMA ¦ NSW ¦ Fibre Links ¦ New Devs
SOR Item ID | SOR Item Description | Unit of Measure (UoM) | Total per Unit ($/UOM)
02 | CIVIL WORKS
02-02 | Supply and underground installation of pipe in OTR
D02-02-01-01 | Supply and install 1 x P50 PVC pipe in open trench in OTR (Other Than Rock) | Per linear metre | 24
D02-02-01-02 | Supply and install 1 x P50 (63 OD) pipe using boring techniques in OTR (Other Than Rock) less than 250m | Per linear metre | 46
D02-02-01-03 | Grundomat OTR P50 | Per linear metre | 43
D02-02-01-04 | Supply and install 4 x P50 PVC pipes in open trench in OTR (Other Than Rock) | Per linear metre | Excluded
D02-02-01-05 | Extra Over rate for 1X P50 (63 OD) Pipe using Boring techniques in OTR (Other than Rock) for Short Bore (Less than or Equal to 20 Mtrs) | Per linear metre | Excluded
D02-02-01-06 | Supply and install of 1 x P50 PVC pipe in open trench provided by other including reinstatement | Per linear metre | 10
D02-02-02-01 | Supply and install 1 x P100 PVC pipe in open trench in OTR (Other Than Rock) | Per linear metre | 31
D02-02-02-02 | Supply and install 1 x P100 (110 OD) pipe using boring techniques in OTR (Other Than Rock) | Per linear metre | 69
D02-02-02-03 | Grundomat OTR P100 | Per linear metre | 62
D02-02-02-04 | Supply and install 2 x P100 PVC pipes in open trench in OTR (Other Than Rock) | Per linear metre | 38
D02-02-02-05 | Supply and install 2 x P100 (110 OD) pipe using boring techniques in OTR (Other Than Rock) | Per linear metre | 104
D02-02-02-06 | Supply and install 2 x P100 + 1 x P50 PVC pipes in open trench in OTR (Other Than Rock) | Per linear metre | 42
D02-02-02-07 | Extra Over rate for 1X P100 (110 OD) Pipe using Boring techniques in OTR (Other than Rock) for Short Bore (Less than or Equal to 20 Mtrs) | Per linear metre | Excluded
D02-02-02-08 | Supply and install 1 x P100 PVC pipe(s) in open trench provided by other including reinstatement | Per linear metre | 12
D02-02-00-05 | Supply and install riser on pole or building | Per linear metre | 200
D02-02-06-00 | Extra over for supply and install of underground pipe in an existing trench with an internal diameter of greater than 25mm | Per linear metre | Excluded
02-02-04 | Supply and underground installation of pipe in ROCK
D02-02-04-01 | Extra over rate for 1 x P50 PVC pipe in open trench in Rock | Per linear metre | 52
D02-02-04-02 | Extra over rate for 1 x P100 PVC pipe in open trench in Rock | Per linear metre | 61
D02-02-04-03 | Extra over rate for 1 x P50 (63 OD) pipe using boring techniques in Rock | Per linear metre | 161
D02-02-04-04 | Extra over rate for 1 x P100 (110 OD) pipe using boring techniques in Rock | Per linear metre | 189
D02-02-04-05 | Extra over rate for 2 x P100 PVC pipes in open trench in Rock | Per linear metre | 56
D02-02-04-06 | Extra over rate for 2 x P100 (110 OD) pipes using boring techniques in Rock | Per linear metre | 286
D02-02-04-07 | Extra over rate for 2 x P100 + 1 x P50 PVC pipes in open trench in Rock | Per linear metre | 56
D02-02-04-08 | Extra over rate for 4 x P50 PVC pipes in open trench in Rock | Per linear metre | Excluded
D02-02-04-09 | Electricity Connection Extra over rate for rock | Per linear metre | Excluded
02-02-07 | Supply and underground installation of pipe
D02-02-07-01 | Extra over for all pipe size road crossings kerb to kerb (OTR) P50 | Per linear metre | 65
D02-02-07-02 | Extra over for all pipe size road crossings kerb to kerb (OTR) P100 | Per linear metre | 65
02-02-08 | Installation only of pipe seal TDUX
D02-02-08-04 | MPIT Installation only of pipe seal TDux Product | Each | 20
D02-02-08-05 | LPIT installation only of pipe seal TDux Product | Each | 20
D02-02-08-06 | XLPIT installation only of pipe seal TDux Product | Each | 20
D02-02-08-11 | FDH Installation only of pipe seal TDux Product | Each | 20
02-02-09 | Supply and underground installation of pipe by Hydro Vac
D02-02-09-01 | Hydro Vac excavation for P50 & reinstate | Hour | 190
D02-02-09-02 | Hydro Vac excavation for P100 & reinstate | Hour | 190
D02-02-09-15 | Hydro Vac excavation for Electrical Connection & reinstate | Hour | Excluded
02-03 | Pits/manholes installation by any means and in any new location or over existing infrastructure
D02-03-01-01 | Installation of small pit (P2) at New location in other than Rock | Per pit | 159
D02-03-01-02 | Installation of small pit (P2) over existing infrastructure in other than Rock | Per pit | 185
D02-03-01-03 | Supply of small pit (P2) | Per pit | Excluded
D02-03-01-04 | Installation of medium pit (P5) at New location in other than Rock | Per pit | 239
D02-03-01-05 | Installation of medium pit (P5) over existing infrastructure in other than Rock | Per pit | 300
D02-03-01-06 | Supply of medium pit (P5) | Per pit | Excluded
D02-03-02-01 | Installation of large pits (P6 and P8) at New location in other than Rock | Per pit | 448
D02-03-02-02 | Installation of large pits (P6 and P8) over existing infrastructure in other than Rock | Per pit | 492
D02-03-02-03 | Supply only P6 Plastic Pit (1370x550x680) | Per pit | Excluded
D02-03-02-04 | Supply only P8 Plastic Pit (1380x565x890) | Per pit | Excluded
D02-03-03-01 | Installation of extra-large (P9) pit at New location in other than Rock | Per pit | 524
D02-03-03-02 | Installation of extra-large (P9) over existing infrastructure in other than Rock | Per pit | 750
D02-03-03-03 | Supply only P9 Plastic Pit (2040x 550x900) | Per pit | Excluded
02-03-00 | Pits/manholes installation by any means in Rock
D02-03-00-04 | Extra over rate for the installation of a pit in Rock | Per cubic metre | 150
02-04-00 | Core bore
D02-04-00-03 | Core bore | Each | 350
02-03-00 | ACM pit removal
D02-03-00-07 | Removal and disposal of small and medium (P2 or P5) ACM Pit | Each ACM Pit | 500
D02-03-00-08 | Removal and disposal of large (P6 or P8) ACM Pit | Each ACM Pit | 750
D02-03-00-09 | Removal and disposal of extra-large (P9) ACM Pit | Each ACM Pit | 900
02-03-10 | ACM Removal for pit entry
D02-03-10-01 | P50 Conduit Entry to ACM Pit | Each ACM Pit | 180
D02-03-10-02 | P100 Conduit Entry to ACM Pit | Each ACM Pit | 180
02-03-11 | ACM conduit removal for pit installation or blockage
D02-03-11-01 | Extra over rate to remove and dispose of asbestos conduit for new small/Medium pit at new location is being installed over existing ACM pipe | Per Location | 260
D02-03-11-02 | Extra over rate to remove and dispose of asbestos conduit for new Large pit at new location is being installed over existing ACM pipe | Per Location | 260
D02-03-11-03 | Extra over rate to remove and dispose of asbestos conduit for new Xlarge pit at new location is being installed over existing ACM pipe | Per Location | 370
D02-03-11-04 | Extra over rate to remove and dispose of asbestos conduit while repairing a ACM pipe blockage | Per Location | 260
02-06-01 | Surface Works Concrete
D02-06-01-01 | P50 Breakout Concrete | Per square metre | 99.14
D02-06-01-02 | P100 Breakout Concrete | Per square metre | 99.14
D02-06-01-03 | SPIT Breakout Concrete | Per square metre | 99.14
D02-06-01-04 | MPIT Breakout Concrete | Per square metre | 99.14
D02-06-01-05 | LPIT Breakout Concrete | Per square metre | 99.14
D02-06-01-06 | XLPIT Breakout Concrete | Per square metre | 99.14
D02-06-01-07 | BDCT Breakout Concrete | Per square metre | 99.14
D02-06-01-12 | SFNO Breakout Concrete | Per square metre | 99.14
D02-06-01-13 | MFNO Breakout Concrete | Per square metre | 99.14
D02-06-01-14 | LFNO Breakout Concrete | Per square metre | 99.14
D02-06-01-15 | Electricity Connection Breakout Concrete | Per square metre | Excluded
02-06-02 | Surface Works Bitumen or Asphalt
D02-06-02-01 | P50 Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-02 | P100 Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-03 | SPIT Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-04 | MPIT Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-05 | LPIT Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-06 | XLPIT Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-07 | BDCT Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-12 | SFNO Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-13 | MFNO Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-14 | LFNO Breakout Bitumen or Asphalt | Per square metre | 95.38
D02-06-02-15 | Electricity Connection Breakout Bitumen or Asphalt | Per square metre | Excluded
02-06-03 | Surface Works Bricks or Pavers
D02-06-03-01 | P50 Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-02 | P100 Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-03 | SPIT Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-04 | MPIT Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-05 | LPIT Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-06 | XLPIT Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-07 | BDCT Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-12 | SFNO Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-13 | MFNO Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-14 | LFNO Breakout bricks or pavers | Per square metre | 67.41
D02-06-03-15 | Electricity Connection Breakout bricks or pavers | Per square metre | Excluded
02-06-04 | Surface Works Turf
D02-06-04-01 | P50 Reinstate Turf | Per square metre | 9.46
D02-06-04-02 | P100 Reinstate Turf | Per square metre | 9.46
D02-06-04-03 | SPIT Reinstate Turf | Per square metre | 9.46
D02-06-04-04 | MPIT Reinstate Turf | Per square metre | 9.46
D02-06-04-05 | LPIT Reinstate Turf | Per square metre | 9.46
D02-06-04-06 | XLPIT Reinstate Turf | Per square metre | 9.46
D02-06-04-07 | BDCT Reinstate Turf | Per square metre | 9.46
D02-06-04-12 | SFNO Reinstate Turf | Per square metre | 9.46
D02-06-04-13 | MFNO Reinstate Turf | Per square metre | 9.46
D02-06-04-14 | LFNO Reinstate Turf | Per square metre | 9.46
D02-06-04-15 | Electricity Connection Reinstate Turf | Per square metre | Excluded
02-06-05 | Surface Works Concrete
D02-06-05-01 | P50 Reinstate Concrete | Per square metre | 120
D02-06-05-02 | P100 Reinstate Concrete | Per square metre | 120
D02-06-05-03 | SPIT Reinstate Concrete | Per square metre | 120
D02-06-05-04 | MPIT Reinstate Concrete | Per square metre | 120
D02-06-05-05 | LPIT Reinstate Concrete | Per square metre | 120
D02-06-05-06 | XLPIT Reinstate Concrete | Per square metre | 120
D02-06-05-07 | BDCT Reinstate Concrete | Per square metre | 120
D02-06-05-12 | SFNO Reinstate Concrete | Per square metre | 120
D02-06-05-13 | MFNO Reinstate Concrete | Per square metre | 120
D02-06-05-14 | LFNO Reinstate Concrete | Per square metre | 120
D02-06-05-15 | Electricity Connection Reinstate Concrete | Per square metre | Excluded
02-06-06 | Surface Works Bitumen or Asphalt
D02-06-06-01 | P50 Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-02 | P100 Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-03 | SPIT Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-04 | MPIT Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-05 | LPIT Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-06 | XLPIT Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-07 | BDCT Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-12 | SFNO Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-13 | MFNO Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-14 | LFNO Reinstate bitumen or asphalt | Per square metre | 130
D02-06-06-15 | Electricity Connection Reinstate bitumen or asphalt | Per square metre | Excluded
02-06-07 | Surface Works Bricks or Pavers
D02-06-07-01 | P50 Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-02 | P100 Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-03 | SPIT Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-04 | MPIT Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-05 | LPIT Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-06 | XLPIT Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-07 | BDCT Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-12 | SFNO Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-13 | MFNO Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-14 | LFNO Reinstate Bricks and Pavers | Per square metre | 92
D02-06-07-15 | Electricity Connection Reinstate Bricks and Pavers | Per square metre | Excluded
03 | CABLE INSTALLATION (UNDERGROUND)
03-01-00 | Pipe proving
D03-01-00-01 | Pipe Proving in existing duct | Per linear metre | 2
D03-01-00-02 | Pipe Proving in existing riser on a pole or in existing riser on the external face of a building | Per existing riser on a pole or existing riser on the external face of a building | 90
03-02-00 | Pipe and duct blockages
D03-02-00-01 | Identify and repair blockage(s) at a single location less than 1200mm deep and up to 2.1m in length | Per single location | 390
D03-02-00-02 | Clear pipe blockage using high pressure water | Per blockage cleared | 200
03-03-00 | Cable Hauling
D03-03-00-01 | Installation of DFN cable sheath in underground duct by any means | Per linear metre | 3
D03-03-01-02 | Out of Hours Installation of DFN cable sheath in underground duct by any means | Per linear metre | 3.53
D03-03-00-02 | Installation of LFN cable sheath in underground duct by any means | Per linear metre | 2.3
D03-03-00-03 | Installation of Tether fibre cable sheath in underground duct by any means | Per linear metre | 1.75
D03-03-00-04 | Installation of cable sheath within a building or cable chamber | Per linear metre | 5
D03-03-00-05 | Installation of LFN cable sheath in existing riser on a pole or in existing riser on the external face of a building | Per cable sheath | 100
D03-03-00-06 | Installation of hardline in underground duct by any means | Per linear metre | 4.7
D03-03-00-07 | Installation of hardline in an existing riser on a pole or in an existing riser on the external face of a building | Per cable | 70.7
D03-03-00-09 | Installation only of single cable by direct buried techniques by plough in other than Rock | Per linear metre | 6
D03-03-09-02 | Installation only of single cable by direct buried techniques by opening trenching in other than Rock | Per linear metre | 11.87
D03-03-00-10 | Extra over for the installation of a single cable by direct buried techniques in Rock | Per linear metre | 70
04 | CABLE INSTALLATION (AERIAL)
04-01-00 | Cable installation (Aerial) in power corridor
D04-01-00-01 | Installation of cable sheath and all NBN Co infrastructure on timber poles in the power corridor | Per Span | 371.2
D04-01-00-02 | Installation of cable sheath and all NBN Co infrastructure on stobie poles in the power corridor | Per Span | 416.09
D04-01-00-03 | Installation of cable sheath and all NBN Co infrastructure on concrete or steel poles in the power corridor | Per Span | 411.29
04-02-00 | Cable installation (Aerial) in communications corridor
D04-02-00-01 | Installation of cable sheath and all NBN Co infrastructure on timber poles in the communications corridor | Per Span | 371.2
D04-02-00-02 | Installation of cable sheath and all NBN Co infrastructure on stobie poles in the communications corridor | Per Span | 416.09
D04-02-00-03 | Installation of cable sheath and all NBN Co infrastructure on concrete or steel poles in the communications corridor | Per Span | 411.29
D04-02-00-04 | Installation of hardline on all pole types | Per Coaxial Cable Span | 305
D04-02-00-05 | Installation of a catenary wire only on timber poles | Per Coaxial Cable Span | 235
D04-02-00-06 | Installation of a catenary wire only on stobie poles | Per Coaxial Cable Span | 222
D04-02-00-07 | Installation of a catenary wire only on concrete or steel poles | Per Coaxial Cable Span | 222
D04-02-00-08 | Re-lashing of existing hardline to existing catenary wire | Per Coaxial Cable Span | 208
06 | FIBRE ENCLOSURE AND CABINETS
06-01 | Installation of joint enclosures
D06-01-11-01 | Installation of LFN/ MTLFN fibre joint enclosure | Per LFN fibre joint enclosure | 105
D06-01-11-02 | Replace/Install Manhole Bearer LFN/MTLFN | Per cable bearer | 70
D06-01-12-01 | Installation of DFN fibre joint enclosure | Per DFN fibre joint enclosure | 105
D06-01-12-02 | Replace/Install Manhole Bearer DFN | Per cable bearer | 70
D06-01-01-03 | Installation of Gator fibre joint enclosure | Per Gator fibre joint enclosure | 95
D06-01-01-05 | Re-entry into a fibre joint enclosure | Per fibre joint enclosure | 90
D06-01-01-06 | Installation of a 72 way HDODF patch panel within an existing HDODF or equivalent environments | Per patch panel | 131
06-01-04 | Joint enclosure cable preparation
D06-01-04-01 | Prepare DFN fibre cable sheath to be connected to fibre joint enclosures | Per cable sheath | 210
D06-01-04-02 | Prepare LFN fibre cable sheath to be connected to fibre joint enclosures | Per cable sheath | 90
D06-01-04-03 | Prepare Tether fibre cable sheath to be connected to fibre joint enclosures | Per cable sheath | 50
06-02-00 | FTTP Cabinets/Splitters
D06-02-00-01 | Install FDH Plinth and Stand Cabinet | Per FDH Cabinet | 1300
D06-02-00-02 | Install FDH Splitter | Per Splitter | 30
D06-02-00-03 | Installation of splitter within an existing BJL enclosure | Per splitter | 50
D06-02-00-08 | Installation of splitter within an existing FJL enclosure | Per splitter | 70
D06-02-00-09 | Installation of splitter within a PDH cabinet | Per splitter | 30
D06-02-00-10 | Installation of a Fibre TV Splitter TVS) within an FDH Cabinet | Per device | 30
06-02-04 | FTTN Cabinets
D06-02-04-01 | Install pedestal and earthing for small port Node Cabinet including standing the node and placing/connecting batteries in cabinet | Per external Node Cabinet | 1020
D06-02-04-02 | Commissioning and Integration of Small Node Cabinet | Per external Node Cabinet | 440
D06-02-04-03 | De-Ribbonise & Splicing of 12 fibre ribbon for small port node cabinet | Per external Node Cabinet | 34
D06-02-04-04 | Installation of Compact Sealed DSLAMs equipment | Per external Node Cabinet | 425
06-02-05 | FTTN Cabinets
D06-02-05-01 | Install plinth and earthing for medium port Node Cabinet including standing the node and placing/connecting batteries in cabinet | Per external Node Cabinet | 2720
D06-02-05-02 | Commissioning and Integration of medium Node Cabinet | Per external Node Cabinet | 440
D06-02-05-03 | De-Ribbonise & Splicing of 12 fibre ribbon for medium port node cabinet | Per external Node Cabinet | 34
06-02-06 | FTTN Cabinets
D06-02-06-01 | Install plinth and earthing for Large Port Node Cabinet including standing the node and placing/connecting batteries in cabinet | Per external Node Cabinet | 2720
D06-02-06-02 | Commissioning and Integration of Large Node Cabinet | Per external Node Cabinet | 440
D06-02-06-03 | De-Ribbonise & Splicing of 12 fibre ribbon for medium port node cabinet | Per external Node Cabinet | 34
06-02-07 | Replacement of desiccant bags
D06-02-07-01 | Replacement of desiccant bags | Per Cabinet | Excluded
06-03-00 | FTTB Cabinets
D06-03-00-01 | Installation of an internal small FTTB Cabinet | Per FTTB Cabinet | 2666.21
D06-03-00-02 | Installation of an internal medium FTTB Cabinet | Per FTTB Cabinet | 3369.12
D06-03-00-03 | Installation of an internal large FTTB Cabinet | Per FTTB Cabinet | 4091.54
D06-03-00-04 | Extra over rate for supply and install AC power cable for FTTB Cabinet | Per linear metre | 15.46
D06-03-00-05 | Extra over rate for supply and install earth cable for FTTB Cabinet | Per linear metre | 15.6
D06-03-00-06 | Supply and install new service earth bar | Per service earth bar | 67.13
D06-03-00-07 | Supply and install new service earth stake | Per service earth stake | 59.76
D06-03-00-08 | Extra over rate for the installation of a copper cable sheaths from main distribution frame to FTTB Cabinet, via riser, shaft or cable tray | Per linear metre | 3.67
D06-03-00-09 | Extra over rate for the installation of copper cable sheaths via ceiling space, floor cavity or crawl space | Per linear metre | 5.48
D06-03-00-10 | Install a 10 pair MDF terminal block | Per 10 pair MDF terminal block | 19.81
D06-03-00-11 | Install a 100 pair MDF terminal frame | Per 100 pair MDF terminal frame | 39.98
06-04-00 | FAN termination
D06-04-00-01 | Cable termination in FAN | Per cable sheath | 1200
D06-04-01-02 | Cable termination in FAN for Lead-in only Work Releases | Per cable sheath | 350
D06-04-02-01 | Install patching cable for PON patching | Per patching cable | 30
D06-04-02-02 | Supply patching cable for PON patching | Per patching cable | Excluded
D06-04-00-03 | Installation of an Fibre TV Combiner (TVC) subrack within a HDODF rack location at the FAN | Per sub rack | 58
06-05-00 | Multiport installations
D06-05-00-01 | Installation of multiport in underground pit or manhole | Per multiport | 22
D06-05-00-02 | Installation of multiport on any pole | Per multiport | 132.48
06-06-00 | Splicing
D06-06-00-01 | Splicing of optic fibre ribbons | Per Ribbon Splice | 16
06-07-02 | Fibre testing
D06-07-02-01 | DFN OTDR testing | Per fibre | 18.5
D06-07-02-02 | DFN insertion loss testing | Per fibre | 18
D06-07-02-03 | LFN/ MTLFN OTDR testing | Per fibre | 18.5
D06-07-02-04 | LFN/ MTLFN insertion loss testing | Per fibre | 18
D06-07-02-05 | Extra over rate for LFN/ MTLFN insertion loss testing to the PCD | Per fibre | 13
07 | COPPER
07-01-01 | Copper cross connect unit
D07-01-01-01 | Installation of a new 900 type CCU | Per new 900 type CCU | 935
D07-01-01-02 | Installation of a new 1800 type CCU | Per new 1800 type CCU | 935
D07-01-01-03 | Installation of copper cable insulation displacement connection module (Connection Module) and termination of cable | Per 10 cable pairs | 40
D07-01-01-04 | Upgrading of an existing CCU from 900 type to 1800 type | Per CCU required to be upgraded from 900 type to 1800 type | 266
D07-01-01-05 | Cutting over existing services from an existing Connection Module to a new Connection Module | Per 10 cable pairs | 56
D07-01-01-06 | Installation of service jumpering in a FTTN/FTTB Node Cabinet | Per 48 Port Line Card | 153
D07-01-01-12 | Cable layup within CJL for external small port CSD node | Per CJL | 87.78
07-01-02 | Copper augment
D07-01-02-01 | Installation of a new Distribution extra large copper joint | Per new Distribution extra large copper joint | 927
D07-01-02-02 | Installation of a new Distribution large copper joint | Per new large copper joint | 646
D07-01-02-03 | Installation of a new Distribution small copper joint | Per new small copper joint | 235
D07-01-02-04 | Installation of copper cable of up to 100 pair in underground duct by any means | Per linear metre | 2.4
D07-01-02-05 | Installation of copper cable of greater than 100 pair in underground duct by any means | Per linear metre | 3.7
09 | MISCELLANEOUS WORK RATES
09-01-01 | Miscellaneous Work Rates
D09-01-01-01 | Labourer | Per hour | 40.45
D09-01-01-02 | EO Labourer overtime – out of hours rate | Per hour | 18.33
D09-01-01-03 | EO Plant Operator overtime – out of hours rate | Per hour | 19.03
D09-01-01-04 | Telecommunications Technician fully equipped including vehicle | Per hour | 62.81
D09-01-01-05 | EO Telecommunications Technician fully equipped including vehicle | Per hour | 20.63
D09-01-01-06 | Advanced Telecommunications Technician fully equipped including vehicle | Per hour | 65.31
D09-01-01-07 | EO Advanced Telecommunications Technician fully equipped overtime including vehicle – out of hours rate | Per hour | 27.33
D09-01-01-08 | Electrical Linesworker fully equipped including vehicle | Per hour | 112.92
D09-01-01-09 | Electrical Linesworker fully equipped overtime including vehicle – out of hours rate | Per hour | 22.46
09-01-01 | Miscellaneous Work Rates
D09-01-01-10 | EO Night Works Setup/Plant Hire | Per Night | Quote
D09-01-01-11 | Electricity Connection night works setup and plant hire | Per Night | Excluded
10 | PROVISIONAL SUM ITEMS
10-01-14 | Provisional Sum Items
D10-01-14-01 | Supply & Install up to 1 x P50 Electrical conduit (by all means) | Per Linear Metre | Excluded
D10-01-14-02 | Install Electrical Pit | Per Pit | Excluded
D10-01-14-03 | Supply and install Electricity Connection as per design-Aerial Point of Supply | Per Cabinet | Excluded
D10-01-14-04 | Supply and install Electricity Connection as per design-Underground point of supply with NBN Electrical Pit adjacent to existing electrical pillar | Per Cabinet | Excluded
D10-01-14-05 | Supply and install Electricity Connection as per design Underground point of supply with New NBN electrical pillar (Above Ground) adjacent to existing electrical pillar | Per Cabinet | Excluded
D10-01-14-06 | Extra Over Rate for 1 X P40 Electrical trench for Kerb to Kerb (OTR) | Per linear metre | Excluded
D10-01-14-07 | Extra Over rate for up to P50 Electrical conduit using Boring techniques in OTR (Other than Rock) for Short Bore (Less than or equal to 20 metre) | Per linear metre | Excluded
D10-01-14-08 | Supply & Install up to 1 x P50 Electrical conduit in open trench | Per linear metre | Excluded
D10-01-14-09 | Supply & Install up to 1x P50 Electrical conduit using boring techniques | Per linear metre | Excluded
10-01-01 | Provisional Sum Items
D10-01-01-16 | Telecommunications service provider fees | Amount of the fee | Quote
D10-01-01-17 | Pole make ready works | Cost of pole make ready works | Quote
D10-01-01-18 | Supply and install 15AMP GPO as per design | Cost of GPO installation | Quote
D10-01-01-19 | Certification and professional services fees associated with activities not otherwise specified in Activity Scope | Amount of the fee | Quote
D10-01-01-20 | Provision of route access activities | Amount of the fee | Quote
10-01-02 | Traffic control
D10-01-02-01 | P50 Traffic Control | Actual Cost | Quote
D10-01-02-02 | P100 Traffic Control | Actual Cost | Quote
D10-01-02-04 | Medium Pit Traffic Control | Actual Cost | Quote
D10-01-02-05 | Large Pit Traffic Control | Actual Cost | Quote
D10-01-02-06 | XLarge Pit Traffic Control | Actual Cost | Quote
D10-01-02-07 | BDCT Traffic Control | Actual Cost | Quote
D10-01-02-09 | DFN Haul Traffic Control | Actual Cost | Quote
D10-01-02-10 | LFN Haul Traffic Control | Actual Cost | Quote
D10-01-02-12 | SFNO Haul Traffic Control | Actual Cost | Quote
D10-01-02-13 | MFNO Haul Traffic Control | Actual Cost | Quote
D10-01-02-14 | LFNO Haul Traffic Control | Actual Cost | Quote
D10-01-02-15 | Electricity Connection traffic control | Actual Cost | Excluded
D10-01-02-16 | Jointing & Splicing Traffic Control | Actual Cost | Quote
10-01-03 | Vactruck and Dewatering
D10-01-03-04 | MPIT Dewatering using Vactruck | Actual Cost | Quote
D10-01-03-05 | LPIT Dewatering using Vactruck | Actual Cost | Quote
D10-01-03-06 | XLPIT Dewatering using Vactuck | Actual Cost | Quote
D10-01-03-08 | Pipe Proving Dewatering | Actual Cost | Quote
D10-01-03-09 | DFN Haul Dewater | Actual Cost | Quote
D10-01-03-10 | LFN Haul Dewater | Actual Cost | Quote
10-01-04 | Local Authority Charges
D10-01-04-01 | P50 Local Authority Charges | Actual Cost | Excluded
D10-01-04-02 | P100 Local Authority Charges | Actual Cost | Excluded
D10-01-04-03 | SPIT Local Authority Charges | Actual Cost | Excluded
D10-01-04-04 | MPIT Local Authority Charges | Actual Cost | Excluded
D10-01-04-05 | LPIT Local Authority Charges | Actual Cost | Excluded
D10-01-04-06 | XLPIT Local Authority Charges | Actual Cost | Excluded
D10-01-04-07 | BDCT Local Authority Charges | Actual Cost | Excluded
D10-01-04-12 | SFNO Local Authority Charges | Actual Cost | Excluded
D10-01-04-13 | MFNO Local Authority Charges | Actual Cost | Excluded
D10-01-04-14 | LFNO Local Authority Charges | Actual Cost | Excluded
10-01-05 | Toxic Waste Removal
D10-01-05-01 | P50 Toxic Waste Removal | Actual Cost | Quote
D10-01-05-02 | P100 Toxic Waste Removal | Actual Cost | Quote
10-01-06 | Geotechnical
D10-01-06-01 | P50 Geotechnical Investigations or Testing | Actual Cost | Quote
D10-01-06-02 | P100 Geotechnical Investigations or Testing | Actual Cost | Quote
10-01-07 | Third Party Costs
D10-01-07-01 | P50 Other Third Party Costs | Actual Cost | Quote
D10-01-07-02 | P100 Other Third Party Costs | Actual Cost | Quote
10-01-08 | Register Surveyor works
D10-01-08-01 | P50 Registered Surveyor Works | Actual Cost | Quote
D10-01-08-02 | P100 Registered Surveyor Works | Actual Cost | Quote
D10-01-08-12 | Small Node Registered Surveyor Works | Actual Cost | Quote
D10-01-08-13 | Medium Node Registered Surveyor Works | Actual Cost | Quote
D10-01-08-14 | Large Node Registered Surveyor Works | Actual Cost | Quote
20 | HFC
20-00-01 | HFC Network Extension/Augmentation
D20-00-01-38 | Installation of non-aerial mounted tap in new network | Per tap | 48
D20-00-01-39 | Supply and install optical patch cable within HDODF | Per patch cable | 27
D20-00-01-40 | Installation of pedestal | Per pedestal | 689
D20-00-01-55 | Installation of aerial tap in existing network | Per tap | 143
D20-00-01-56 | Installation of non-aerial tap in existing network | Per tap | 62
D20-00-01-63 | Installation of aerial RF splice in existing network | Per Splice | 130
D20-00-01-64 | Installation of non-aerial RF splice in existing network | Per Splice | 35
D20-00-01-65 | Installation of power blocker in conjuction with the installation of a new device in either aerial or non-aerial environment in new network | per device | 110
50 | MULTI-DWELLING UNITS
50-01-00 | Cable installation (Multi–Dwelling Units)
D50-01-00-01 | Supply & Installation of cable tray in buildings | Per linear metre | 56
D50-01-00-02 | Supply & Installation of catenary wire system in buildings | Per linear metre | 12.21
D50-01-00-03 | Supply and installation of ducting <30mm width (including the cable within the ducting) | Per linear metre | 13.4
D50-01-00-04 | Supply and installation of ducting >30mm width (including the cable within the ducting) | Per linear metre | 23.02
D50-01-00-05 | Installation of Internal Connection Device (ICD) or Premises Connection Device (PCD) | Each ICD or PCD | 23.02
D50-01-00-06 | Installation of One Pass Fibre Pathway in buildings | Per linear metre | 22
D50-01-00-07 | Connecting One Pass Fibre Pathway to ICD or PCD | Each ICD or PCD | 43
D50-01-00-08 | Installation of Fibre Collector Distributor (FCD) or Fibre Distribution Terminal (FDT) or Cable Transition Location (CTL) within buildings | Each FCD, FDT or CTL | 505
D50-01-00-09 | Installation of Premises Distribution Hub (PDH) | Each PDH | 460
D50-01-00-13 | Installation of backbone cable in buildings | Per linear metre | 3.7
D50-01-00-14 | Installation of apartment amplifier in buildings | Per amplifier | 94
D50-01-00-15 | Installation of MDU security enclosure | Per MDU security enclosure | 88
D50-01-00-16 | Installation of tap in buildings | Per tap | 57
D50-01-00-17 | Installation of directional coupler or splitter in buildings | Per directional coupler or splitter | 64
D50-01-00-24 | Installation of coaxial customer premises drop cable from isolator to wall plate in existing or new ducting | Per drop | 144
D50-01-00-25 | Installation of coaxial customer premises drop cable from isolator to wall plate on existing or new cable tray | Per drop | 156
D50-01-00-26 | Installation of coaxial customer premises drop cable from isolator to wall plate in cavity or communications riser | Per drop | 162
D50-01-00-27 | Supply and installation of ducting <30mm width | Per linear metre | 20
D50-01-00-28 | Supply and installation of ducting >30mm width | Per linear metre | 36
D50-01-00-29 | Installation of a Fibre TV Splitter within a PDH enclosure | Per Device | 36
50-02-00 | Construction works (Multi–Dwelling Units)
D50-02-00-01 | Provide a wall penetration of up to 20mm diameter in brick or concrete wall only | Each 20mm diameter wall penetration | 50.45
D50-02-00-02 | Provide a wall penetration of up to 50mm diameter in brick or concrete wall only | Each 50mm diameter wall penetration | 100.87
D50-02-00-03 | Provide a wall penetration of up to 100mm diameter in brick or concrete wall only | Each 100mm diameter wall penetration | 127.98
D50-02-00-04 | Provide a floor penetration of up to 20mm diameter | Each 20mm floor penetration | 97.478
D50-02-00-05 | Provide a floor penetration of up to 50mm diameter | Each 50mm floor penetration | 248.77
D50-02-00-06 | Provide a floor penetration of up to 100mm diameter | Each 100mm floor penetration | 302.99
51 | LEAD-INS
51-01-00 | Aerial lead-ins (Drops)
D51-01-00-01 | Installation of a single service drop sheath (SDS) on a single span | Per aerial service drop | 135
D51-01-00-02 | Extra over rate for additional spans for an aerial service drop | Each additional Span | 95
D51-01-00-03 | Extra over rate for supply and installation of a raiser pole on a building. | Each raiser pole installed | 50
D51-01-00-04 | Installation of a coaxial drop cable on a single span | Per aerial service drop | 150
D51-01-00-05 | Extra over rate for installation of a new coaxial drop cable in-span | Per in-span Drop | 90
D51-01-00-08 | Extra over for supply and Installation of rooftop raiser on a building | Per raiser pole installed | 59
D51-01-00-09 | Extra over rate for additional spans for a aerial coaxial service drop | Each additional Span | 100
51-02-00 | Underground lead-ins (Drop)
D51-02-00-02 | Installation of service drop sheath underground | Per service drop | 135
D51-02-00-03 | Installation of direct service drop sheath underground | Per direct service drop | 180
D51-02-00-04 | Extra over rate for the supply and install of new lead-in pipe, minimum charge 3 metres route length, by any means | Per linear metre | 33
D51-02-00-05 | Extra over rate to repair lead-in conduit | Per repaired lead-in conduit | 59
D51-02-00-06 | Supply and install of Y connectors | Per Y connector | 140
D51-02-00-09 | Installation of non-aerial coaxial service drop | Per coaxial service drop | 116
D51-02-00-10 | Installation of non-aerial copper service drop | Per non-aerial copper service drop | 116
D51-02-00-12 | Installation and commissioning of a network terminal device (optical network terminal) | Per device | 137
D51-02-00-13 | Installation and commissioning of a non-aerial DPU terminal device (FTTdp hybrid fibre copper device) | Per device | 0
D51-02-00-14 | Installation and commissioning of an aerial DPU terminal device (FTTdp hybrid fibre copper device) | Per device | 0
D51-02-00-15 | Jointing of copper service drop cable to DPU port tail | Per tail connection | 0
D51-02-00-16 | Installation of a Fibre TV Receiver TVR) co-located with an NTD | Per device | 35
55 | OTHER
55-67 | Pit riser/lids
D55-67-10-01 | Install pit riser | Each pit riser | 150
D55-67-10-02 | Supply riser to P5 pit | Each pit riser | Excluded
D55-67-10-03 | Supply riser to P6 pit | Each pit riser | Excluded
D55-67-10-04 | Supply riser to P8 pit | Each pit riser | Excluded
D55-67-10-05 | Supply riser to P9 pit | Each pit riser | Excluded
D55-67-11-01 | Install pit lids | Each pit lids | 24
D55-67-11-02 | Supply pit lids | Each pit lids | Excluded
56 | DESIGN
56-01-01 | New Developments & Point to Point
D56-01-01-01 | Provision of planning and design services for reduced deliverable design | Per Work Release | Excluded
D56-01-01-02 | Provision of planning and design services for full deliverable design | Per Work Release | Excluded
D56-01-01-03 | Extra over for planning and design services for transit links issued with an Estate in a single Work Release | Per KM | Excluded
D56-01-01-04 | Planning and design services for transit or wireless link | Per KM | Excluded
D56-01-01-05 | Extra over for planning and design services for HFC | Per Work Release | Excluded
D56-01-01-06 | Extra over for direct buried cable survey activities | Per KM | Excluded